{"text_format":"2","workbook":"xlsx","n_sheets":1,"sheets":["Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet1","index":0,"n_rows":7,"n_cols":10,"rows_kept":7,"cut":false,"hidden":false,"merged":[[0,6,0,7],[5,0,6,0],[5,2,6,2],[5,3,6,4]]}
["路径","主类","说明","数据库","表","计算指标","xxl-job",null,"参数","jar包"]
["\\realtime\\wind","WindRealtimeApp","1分钟平均指标计算","taos","jsfw.realtime_average_target","风速、功率、发电机转速、叶轮转速、风向；理论发电量","@XxlJob(\"DataFilling\")","@Scheduled(fixedRate=60000)1分钟实时计算写死；补数，参数为需要补数的时间","{\"start\":\"2023-07-06 00:00:00\",\"end\":\"2023-07-06 23:59:59\"}","192.168.1.68/home/gyee/WindRealtime/realtime-wind-1.1.3.jar"]
["\\state\\cause","StateCauseApp","五损时间计算","tsoa","jsfw.state_cause","开始时间、结束时间、事件","@XxlJob(\"WindCauseJobHandler\")","每天0：30运行一次,计算前一天整天数据，","每5分钟计算一次","192.168.1.68/home/gyee/StateCause/state-cause-1.0.0.jar"]
["\\electricity\\wind","WindPowergenApp","日电量计算","postgresql","gyee.equip_power_gen_day","发电量、理论发电量、损失电量、五损电量、平均风速","@XxlJob(\"CalcEquipPowerGenDay\")","每天2：30运行一次,计算前一天整天数据；加参数计算参数日期一整天的数据","{\"date\":\"2023-07-05 00:00:00\"}","192.168.1.68/home/gyee/WindPowergen/powergen-wind-1.0.5.jar"]
[]
["依赖关系","五损时间计算","->","日电量计算"]
[null,"1分钟平均指标计算"]